PITTSYLVNIA COUNTY CODE

CHAPTER 21

WATER AND SEWER

Article I.

County Water and Sewer Systems Generally

§ 	21-1. Operation of Public Water and Sewer Utilities

§ 	21-2. Connection to Public Water System

§ 	21-3. Connection to Public Sewer System

§ 	21-4. Reserved

§ 	21-5. Reserved

§	21-6. Reserved

§ 	21-7. Reserved

§ 	21-8. Reserved

§	21-9. Offenses Relating to County Water and Sewer Utilities

§ 	21-10. – 21-14.  Reserved

Article II.

Sewers And Privies

§	21-15. Requirements

§ 	21-16. Definition

§  	21-17. Permit

§  	21-18. Health Department

§ 	21-19. Violation

§ 	21-20. Fine

§ 	21-21. Smith Mountain and Leesville Dam Reservoirs Septic Tank Ordinance

# Article III.

Drought Ordinance

§	21-22.  Authority to Declare Water Emergencies

§	21-23.  Publication of Declaration

§	21-24.  Water Use Considerations

§	21-25.  Limitation of Restrictions

§	21-26.  Water Conservation Measures

§	21-27.  Penalty and Enforcement

§	21-28.  Notification of End of Water Emergency

WATER AND SEWER

ARTICLE I

COUNTY WATER AND SEWER SYSTEMS GENERALLY

SEC. 21-1. OPERATION OF PUBLIC WATER AND SEWER UTILITIES

- The County Administrator shall be responsible generally for the management, operation, and maintenance of all aspects of the County water and sewer or wastewater utilities.  For this purpose, he/she may delegate authority to the Director of Public Works or personnel within that Department.

- The County Administrator is hereby authority to promulgate , after consultation with the Director of Public Works, the following:

- Rules and regulations for operation and use of the County water and sewer or wastewater utilities.

- A Design and Construction Standards Manual, which sets forth the guidelines that govern the design and construction of all water and wastewater facilities, which  will be become part of the County’s public water and sewer system.  Such guidelines shall be consistent with this chapter and with the laws of the United States and the Commonwealth of Virginia and shall have the force and effect of law.

- The rules and regulations and standards which may be promulgated in accordance with the subsection B above shall be in effect from the date upon which they are promulgated and may be amended, altered, or repealed by the County Administrator as he/she shall deem appropriate after consultation with the Director of Public Works.

SEC. 21-2. CONNECTION TO PUBLIC WATER SYSTEM

- Service Connection Required.  The owner, tenant, or occupant of all commercial buildings, industrial plants, institutional establishments, structures, and properties used for human occupancy, business, employment, recreation, and industrial, or other purposes, and which abut upon any street, alley, public right-of-way, or public easement containing a public water line hereafter made available by the County, and such building or dwelling is not greater than two-hundred (200) feet from a public water line, shall connect such building or dwelling with such water line within one-hundred and eighty (180) days after such line becomes available and shall cease to use any other source of water supply for domestic use except for hereafter provided.

- Fees and Deposits.  Service applicants shall pay such fees and security deposits as set by the County to connect to the County water system.

- Exceptions to Required Connection.  The County Administrator shall be allowed to grant exceptions to this requirement where it is not physically feasible to make the connection.

- Domestic Supply.  Notwithstanding any other provision of this Section, those persons having a domestic supply or source of potable water shall not be required to discontinue the use of same.  However, persons not served by a water supply system as defined in § 15.1-341, Code of Virginia, 1950, as amended, producing potable water meeting the standards established by the Virginia Department of Health, may be required to pay a monthly service availability charge, which charge shall not be more than that proportion of the minimum monthly user charge, imposed by the County, as debt service bears to the total operating and debt service costs.

SEC. 21-3.  CONNECTION TO PUBLIC SEWER SYSTEM

- Service Connection Required.  The owner, tenant, or occupant of all commercial buildings, industrial plants, institutional establishments, structures, and properties used for human occupancy, business, employment, recreation, and industrial, or other purposes, and which abut upon any street, alley, public right-of-way, or public easement containing a public sewer line hereafter made available by the County, and such building or dwelling is not greater than two-hundred (200) feet from a public sewer line, shall connect such building or dwelling with such sewer line within one-hundred and eighty (180) days after such line becomes available and shall cease to use any other method for the disposal of sewage, sewage waste, or other polluting matter except for hereafter provided.

- Fees and Deposits.  Service applicants shall pay such fees and security deposits as set by the County to connect to the County sewer system.

- Exceptions to Required Connection.  The County Administrator shall be allowed to grant exceptions to this requirement where it is not physically feasible to make the connection.

- Private Systems.  Notwithstanding any other provision of this Section, those persons having a private septic system or domestic sewage system meeting applicable standards established by the VDH or other regulating body, shall not be required under this Section to discontinue the use of the same.  However, such persons may be required to pay a monthly service availability charge, which charge shall not be more that that proportion of the minimum monthly user charge, imposed by the County, as debt service bears to the total operating and debt service costs.

SEC. 21-4. – 21-8.  RESERVED.

SEC. 21-9. OFFENSES RELATING TO COUNTY WATER AND SEWER FACILITIES

- Any person who (i) tampers with any metering device to the facilities owned by the County or as set forth in Section 18.2-162, of the Code of Virginia, 1950, as amended, or otherwise intentionally prevents such a metering device from properly registering the degree, amount or quantity of service supplied, or (ii) diverts such service, not owned or controlled by any such company, shall be guilty of a Class 1 misdemeanor.

- Any person who willfully and maliciously (i) diverts any public wastewater or sewer line, or (ii) diverts or wastes any public water supply by tampering with any fire hydrant shall be guilty of a Class 2 misdemeanor.

- The court may order restitution for the value of the services unlawfully used and for all costs.  Such costs shall be limited to actual expenses, including the base wages of employees acting as witnesses for the County, and suit cost, and the amount shall not exceed $250.00, excluding the value of the service.

- Any person who shall intentionally destroy or damage any facility of the County or as identified in Section 18.2-162 of the Code of Virginia, 1950, as amended, which is used to furnish water service to the public, shall by guilty of a Class 4 felony, provided that in the event the destruction or damage may be remedied or repaired for $200.00 or less, such act shall constitute a Class 3 misdemeanor. (B.S.M. 8-17-10)

SEC. 21.10 -21-14. RESERVED

Amended by the Board of Supervisors 7-20-21

ARTICLE II

SEWERS AND PRIVIES

SEC. 21-15. REQUIREMENT

It shall be unlawful for the owner of any house used as a human habitation, any warehouse, any public building, or other place where human beings congregate or any employed in the county the County of Pittsylvania to occupy or to rent or lease the same for occupancy by any person, or firm or corporation, or to permit the same to be occupied by any person, firm, or corporation, or any person, firm, or corporation to occupy the same unless and until the said house or buildings shall have been supplied or equipped with a sanitary closet or privy of such construction as will comply with the requirements hereinafter set forth.

SEC. 21-16. DEFINITION

That for the purposes of this ordinance "a sanitary closet or privy" shall be deemed to be either:

- A properly installed flush toilet connected to an approved public or private sewer.

- A properly installed pit privy or concrete or double wood slab construction.

c) 	 A properly installed flush toilet connected to a properly installed septic tank of adequate capacity with adequate subsurface drainage system for the disposal of effluent.

The terms “properly constructed and approved” as used in this ordinance shall be construed to mean         “in accordance with the specifications of the State Department of Health providing arrangements for the disposal of wastes or excrements.

SEC. 21-17. PERMIT

It shall be unlawful for anyone to install a septic tank in Pittsylvania County without first obtaining permit from the County Health Officer, or his representative. No such permit shall be issued unless an inexpensive, detailed sketch, in duplicate, on a 5 by 4 inch card, showing the exact location of such tank and its relation issued relation to wells and lot boundaries and existing or projecting the Health Officer or buildings, is submitted to and approved by Officer, or his authorized representative. The Health Officer of his representative shall decide the capacity of septic tank and number of feet of sub-soil to be used. The minimum capacities shall be as follows:

Table No. 1 					Gallons of Capacity

Number of Persons

1-5 Inclusive						450

  - Inclusive						720

10-14  Inclusive						1000

15-20  Inclusive						1480

The amount of subsurface drainage to be used shall be determined by the Health Officer or his representative at the time the permit is granted. In no case shall a fewer number of feet of drainage tile be used then that specified by the Health Officer or his representative. The kind and amount of absorption material shall conform with the regulations of the Health Department and in each instance shall be determined by the Health Officer or his representative.

SEC. 21-18. HEALTH DEPARTMENT

Septic tanks shall be installed under the supervision of the Health Department. They shall be inspected by a representative, of Heath Department, and approved before they are permitted to be the covered.

SEC. 21-19. VIOLATION

It shall be unlawful for any person, firm or corporation to neglect, fail or refuse to comply with the provisions of this ordinance.

SEC. 21-20. FINE

Any person, firm or corporation who violates any of the provisions or the regulations, issued under it by the County Health Department shall be fined the sum of not exceeding Twenty-five Dollars ($25.00) and each week of failure or refusal to comply with the provisions shall be deemed a separate offense and                                   he shall be fined an additional sum of  Five Dollars ($5.00) for each week of failure or refusal to comply with the provisions of this ordinance, or the regulations issued under it by the County Health Department. (B.S.M. 8-3-36)

SEC. 21-21. SMITH MOUNTAIN AND LEESVILLE DAM RESERIOIRS SEPTIC TANK ORDINANCE

That all septic tank systems be placed at a minimum distance of fifty feet from the high water level of the Smith Mountain and Leesville Dam Reservoirs to the nearest point in the septic tank system. This ordinance to be titled Smith Mountain and Leesville Dam Reservoirs Septic Tank Ordinance. (B.S.M. 6-3-64)

# Article III.

Drought Ordinance

# SEC. 21-22. AUTHORITY TO DECLARE WATER EMERGENCIES.

During the continued existence of climatic, hydrological and other extraordinary conditions, the protection of the health, safety, and welfare of the residents of Pittsylvania County, Virginia (the “County”) may require that certain uses of water, not essential to public health, safety, and welfare, be reduced, restricted, or curtailed. As the shortage of raw or potable water becomes increasingly more critical, conservation measures to reduce consumption, or curtail nonessential water use, may be necessary. The definitions, water emergency criteria, and water use restrictions referenced in this Ordinance are presented in greater detail in the County’s Drought Response and Contingency Plan, which is incorporated herein by reference.

Pursuant to authority granted in §§ 15.2-923 and 15.2-924 of the Code of Virginia, 1950, as amended, the County Administrator of Pittsylvania County, Virginia (the “County Administrator”), is authorized to declare a water emergency in the County restricting the use of water in any area of the County. All water stages are built upon and require compliance with previous water stages. For example, when a Drought Emergency – Stage 1 is declared, all provisions of a Drought Warning are in effect. Also, the County Administrator may declare any of the four (4) stages; they do not have to be declared sequentially.

# SEC. 21-23. PUBLICATION OF DECLARATION.

Upon the declaration of a water emergency, the County Administrator shall immediately post a written notice of the emergency at the front door of the County Administration Building and shall place a notice in a newspaper of general circulation in the area in which such emergency has been declared.

# SEC. 21-24. WATER USE CONSIDERATIONS.

Upon the declaration of a water shortage or emergency, the County Administrator is authorized and directed to implement conservation measures by ordering the restricted use, or absolute curtailment, of the use of water for certain nonessential purposes for the duration of the water shortage or emergency in the manner hereinafter set forth. In exercising this discretionary authority, and making the determinations set forth herein, the County Administrator shall give due consideration to streamflow conditions, water levels, available/usable storage on hand, draw  down rates, and the projected supply capability in the County; system purification and pumping capacity; daily water consumption and consumption projections of the system's customers; prevailing and forecast weather conditions; fire service requirements; pipeline conditions, including breakages, stoppages, and leaks; supplementary source data; estimates of minimum essential supplies to preserve public health and safety, and such other data pertinent to the past, current, and projected water demands.

# SEC. 21-25. LIMITATION OF RESTRICTIONS.

The provisions of this Article shall not apply to any governmental activity, institution, business, or industry which shall be declared by the County Administrator, upon a proper showing, to be necessary for the public health, safety, and welfare, or the prevention of severe economic hardship or the substantial loss of employment. Any activity, institution, business, or industry aggrieved by the finding of the County Administrator may appeal that decision to the Board of Supervisors of Pittsylvania County, Virginia (the “Board of Supervisors”).

# SEC. 21-26. WATER CONSERVATION MEASURES.

Upon a determination by the County Administrator of the existence of the following conditions, the County Administrator shall take the following actions that shall apply to all water users in the County:

- Drought Watch: When moderate but limited supplies of water are available and a Drought Watch is declared in accordance with the Drought Response and Contingency Plan, the County Administrator shall, through appropriate means, call upon the general population to employ prudent restraint in water usage. Public outreach activities shall be identified to inform the general population of the potential for drought conditions to intensify and potential water conservation activities that may be utilized.

- Drought Warning: The Drought Warning stage includes voluntary water conservation actions due to imminent onset of a significant drought event. When a drought warning exists, the following voluntary water restrictions are requested:

  - Voluntary, commercial, manufacturing, institutional and residential conservation measures will be strongly encouraged and recommended including the following:

    - Inspect and repair all faulty and defective parts of faucets and toilets.

    - Use shower for bathing, rather than bathtub, and limit shower to no more than five

(5) minutes.

    - Do not leave faucets running while shaving, rinsing dishes, or brushing teeth.

    - Limit use of clothes washers and dishwashers, and, when used, operate fully loaded.

    - Limit lawn watering to that necessary for plant survival.

    - Water shrubbery the minimum required, reusing household water when possible.

    - Limit vehicle washing.

    - Do not wash down outside areas such as sidewalks, patios, driveways, etc.

    - Install water flow restrictions in showerheads and other water saving devices.

    - Use disposable and biodegradable dishes where possible.

    - Install water saving devices in toilets, such as early closing flapper valves.

    - Do not fill swimming pools.

  - An    extensive    publicity    campaign    will    be    initiated     using     public     media and specialized methods to inform the public of an impending water shortage.

  - Water supply line pressure should be reduced where feasible to reduce water consumption, if it will not affect operation of fixtures, equipment, or public safety devices.

  - Conservation in public buildings, institutions, dormitories, and similar facilities is encouraged by reducing pressure at plumbing fixtures and by installation of restricting devices.

  - All residents, business, and institutions are requested to delay new landscape work, until the water shortage has ended.

  - Water conservation should be followed during all phases of construction related activities. Where appropriate, water needed should be obtained from supplemental sources and construction related activities, which require water, should be delayed, until such time as the water emergency has ended.

All industrial, manufacturing, and commercial enterprises shall reduce consumption to any degree feasible with a goal of a reduction of ten percent (10%).

- Drought Emergency – Stage 1: As drought conditions continue to worsen, a Drought Emergency – Stage 1 may be declared by the County Administrator, or his/her designee, in accordance with the Drought Response and Contingency Plan. When a Drought Emergency – Stage 1 exists, the following will be prohibited:

  - Watering lawns, grass, shrubbery, trees, flower, and vegetable gardens, except by hand held hose, container, or drip irrigation system, except persons regularly engaged in the sale of plants will be permitted to use water for irrigation of their commercial stock and golf courses may water greens;

  - Filling of newly constructed swimming pools and/or wading pools or refilling swimming and/or wading pools, which have been drained;

  - Operating water-cooled air conditioners or other equipment that does not recycle cooling water, except when health and safety are adversely affected;

  - Washing automobiles, trucks, trailers, boats, airplanes, or any other type of mobile equipment, except persons regularly engaged in the business of washing motor vehicles, and any commercial car wash facility will be permitted to use water for such purposes;

  - Washing down outside areas such as streets, driveways, service station aprons, parking lots, office buildings, exteriors, or existing or newly constructed homes or apartments, sidewalks, or patios, or to use water for similar purposes;

  - Operation of ornamental fountain, pool, or pond or other structure making similar use of water;

  - Serving drinking water in restaurants, cafeterias, or other food establishments, except as requested by the customer;

  - Using public or private fire hydrants for any purpose other than fire suppression or other public emergency or Utility Department need;

  - Using water for dust control or compaction; and

  - Using water for any unnecessary purpose or intentionally waste water.

All industrial, manufacturing, and commercial enterprises shall reduce consumption to any degree feasible with a goal of a reduction of at least ten to fifteen percent (10-15%).

- Drought Emergency – Stage 2: As drought conditions continue to worsen, a Drought Emergency – Stage 2 may be declared by the County Administrator, or his/her designee, in accordance with the Drought Response and Contingency Plan. When a Drought Emergency – stage 2 exists, in addition to the restrictions imposed under the Drought Emergency – Stage 1, the following will be prohibited:

  - Watering lawns, grass, shrubbery, trees, or flowers, except persons regularly engaged in the sale of plants shall be permitted to use water for irrigation of their commercial stock and golf courses may water greens;

  - Watering any vegetable garden, except by hand held hose, container, or drip irrigation system;

  - All nonessential use of water for commercial or public use;

  - Using water outside a structure for any use other than an emergency use involving fire or as needed by the water utility to maintain the water system;

  - Operating an evaporative air conditioning unit which recycles water, except as may be required for health and safety; and

  - Other restrictions as may be deemed appropriate and adopted by the Board of Supervisors.

All industrial, manufacturing, and commercial enterprises shall reduce consumption to any degree feasible with a goal of a reduction of at least fifteen to twenty-five percent (15-25%).

# SEC. 21-27. PENALTY AND ENFORCEMENT.

- Any person who violates any provision of this article shall be subject to the following civil penalties:

  - For the first offense, violators shall receive a written warning delivered in person or posted by a representative of the County.

  - For the second offense, violators shall be fined fifty dollars ($50.00), the fine to be imposed on the violator’s next water bill, or in the case of violators not on the public water system, in a written notice.

  - For the third and each subsequent offense, violators shall be fined one hundred dollars ($100.00) for each offense, the fine to be imposed on the violator’s next water bill, or in the case of violators not on the public water system, in a written notice.

  - Each violation by a person shall be counted as a separate violation by that person, irrespective of the location at which the violation occurs.

- Persons who have been assessed a penalty shall have the right to challenge the assessment by providing a written notice to the County Administrator within ten (10) days of the date of the assessment of the penalty. The County Administrator, or his/her designee, shall determine that the penalty was properly assessed and notify the complaining person in writing of his determination.

- The County Administrator, or his/her designee, may waive the penalty, if he/she determines that the violation occurred due to no fault of the person.

# SEC. 21-28. NOTIFICATION OF END OF WATER EMERGENCY.

The County Administrator shall notify the Board of Supervisors when, in his/her opinion, the water emergency situation no longer exists. Upon concurrence of the Board of Supervisors, the water emergency shall be declared to have ended. When this declaration is made, the information shall be conveyed to the general public through the news media.

# Adopted by the Board of Supervisors, October 3, 2011.